## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
4 Miers Avenue
Hartlepool
TS24 9HL
CARRIED OUT ON BEHALF OF
Thirteen Group
REPORT NUMBER: 22-16736
DATE OF REPORT: 29/03/2022
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 22-16736
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Thirteen Group
Address | 2 Hudson Quay
Windward Way
Middlesbrough
TS2 1QG
Site Address | 4 Miers Avenue
Hartlepool
TS24 9HL
Carried Out On | 29/03/2022
Survey Completed By | Graeme Brown
SECTION 2: Introduction
Uncap & Service

## Report
ZENITH MECHANICAL SERVICES
Report Number | 22-16736
SECTION 3: Report
Ideal logic combi 30. No central heating demand registering when stat turned on. Linker stat out and demand comes on. So faulty ideal Prt2 stat and flow turbine and sensor required. No hot water demand when tap running

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 22-16736
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-16736
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-16736
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-16736
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-16736
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes