## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
4 Wear Crescent
Great Lumley
Chester-le-Street
DH3 4JZ
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 22-16758
DATE OF REPORT: 06/07/2022
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 22-16758
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 4 Wear Crescent
Great Lumley
Chester-le-Street
DH3 4JZ
Carried Out On | 06/05/2022, 05/07/2022
Survey Completed By | Rhys Brown
SECTION 2: Introduction
Assess for aditonanal rad in kitchen fit if possible

## Report
ZENITH MECHANICAL SERVICES
Report Number | 22-16758
SECTION 3: Report
21 wide by 24 high double myson round top 20m of 10mm Hep 10 double taylon clips 2 lengths of trunking 6 10mm elbows 2 22 22 10 Ts 2 straight connectors 10mm Inserts 2 stem elbows Rad valves Hung rad and ran pipe work in to suite. Tony justice to return Tuesday as agreed with Tessa to complete finishing works on property.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 22-16758
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-16758
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-16758
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-16758
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-16758
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes