## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
4 WINDSOR CRESCENT
OVINGHAM
PRUDHOE
NE42 6AS
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 22-16815
DATE OF REPORT: 11/04/2022
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 22-16815
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 4 WINDSOR CRESCENT
OVINGHAM
PRUDHOE
NE42 6AS
Carried Out On | 11/04/2022
Survey Completed By | Rhys Brown
SECTION 2: Introduction
Kitchen Installation - gas cooker position to move also

## Report
ZENITH MECHANICAL SERVICES
Report Number | 22-16815
SECTION 3: Report
Completed first fix and gas pipe run. Kitchen work top not on site so second fix is required to be done but no tenant living in house until work is complete. Also sorted the water pressure and a leaking tap out ay 52 Adderlane road.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 22-16815
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-16815
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-16815
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-16815
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-16815
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes