## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
5 Rye Hill Gardens
Hartlepool
Durham
TS26 0JJ
CARRIED OUT ON BEHALF OF
DAMHA
REPORT NUMBER: 22-16862
DATE OF REPORT: 02/04/2022
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 22-16862
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | DAMHA
Address | Durham Aged Mineworkers Homes
P.O. Box 31, The Grove
168 Front Street
Chester Le Street
DH3 3YH
Site Address | 5 Rye Hill Gardens
Hartlepool
Durham
TS26 0JJ
Carried Out On | 02/04/2022
Survey Completed By | Kieran Holmes
SECTION 2: Introduction
Leak from gas boiler

## Report
ZENITH MECHANICAL SERVICES
Report Number | 22-16862
SECTION 3: Report
Cold water valve on filling loop left open, connection from loop to CH valve leaking. Turned off valve and tightened connection. Would recommend new filling loop to stop any further leaks.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 22-16862
SECTION 4: Photos
Room / Area
Kitchen
Description
Filling loop
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-16862
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-16862
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-16862
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-16862
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes