## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
29 Carlton Court
Scorer Street
North Shields
NE29 0LB
CARRIED OUT ON BEHALF OF
S4NT
REPORT NUMBER: 22-16864
DATE OF REPORT: 02/04/2022
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 22-16864
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | S4NT
Address | Quadrant The Silverlink North
Colbalt Business Park
North Tyneside
NE27 0BY
Site Address | 29 Carlton Court
Scorer Street
North Shields
NE29 0LB
Carried Out On | 02/04/2022
Survey Completed By | Kieran Holmes
SECTION 2: Introduction
No Heating / Hw

## Report
ZENITH MECHANICAL SERVICES
Report Number | 22-16864
SECTION 3: Report
KH 02/04/2022 (OOH) Pressurisation unit was low on pressure at 0.0 bar, boiler 2 was in fault code e151 and would not fire. Manually topped up pressure on unit to 1.5 bar and the boilers fired ad a result of this. Pressurisation u it still displayed Alarm-leak limit even when pressure was topped up. Temperature gauge on both heating flow and DHW flow both increased. FOW as to why Pressurisation unit failed to top up system pressure automatically and leak from condensate on back of boilers. Tested hot water and heating in communal areas and both working as they should be.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 22-16864
SECTION 4: Photos
Room / Area
Plant room
Description
Notes
Room / Area
Plant room
Description
Notes
Room / Area
Plant room
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-16864
SECTION 4: Photos
Room / Area
Plant room
Description
Notes
Room / Area
Plant room
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-16864
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-16864
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-16864
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes