## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
10 Aged Miners Homes
Murton
Durham
SR7 9RW
CARRIED OUT ON BEHALF OF
DAMHA
REPORT NUMBER: 22-16865
DATE OF REPORT: 03/04/2022
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 22-16865
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | DAMHA
Address | Durham Aged Mineworkers Homes
P.O. Box 31, The Grove
168 Front Street
Chester Le Street
DH3 3YH
Site Address | 10 Aged Miners Homes
Murton
Durham
SR7 9RW
Carried Out On | 03/04/2022
Survey Completed By | Kieran Holmes
SECTION 2: Introduction
No Heating / Hw

## Report
ZENITH MECHANICAL SERVICES
Report Number | 22-16865
SECTION 3: Report
This job should have started at 11:10 but didn't start on the job sheet. KH 03/04/2022 (OOH) Ignition fault when boiler is attempting to ignite. All the ignition sequence is fine but the spark electrode is not sparking. New electrode kit required. GC no 41-605-52, part number for electrode kit is 5132097. Tenant had his own little halogen heater so did not require a heater from us. He was happy to use his own.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 22-16865
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-16865
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-16865
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-16865
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-16865
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes