## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Carlton court
Scorer street
North shields
NE29 0LB
CARRIED OUT ON BEHALF OF
S4NT
REPORT NUMBER: 22-16870
DATE OF REPORT: 04/04/2022
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 22-16870
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | S4NT
Address | Quadrant The Silverlink North
Colbalt Business Park
North Tyneside
NE27 0BY
Site Address | Carlton court
Scorer street
North shields
NE29 0LB
Carried Out On | 04/04/2022
Survey Completed By | Kieran Holmes
SECTION 2: Introduction
No Heating / hw

## Report
ZENITH MECHANICAL SERVICES
Report Number | 22-16870
SECTION 3: Report
KH 04/04/2022 Attended as low pressure. Reset pressurisation unit as could speak to Hamworthy and get information about how to reset it. Pressure was automatically topped up and boilers started running. We have to reattend to find out why the pressure loss is happening. I have attached pictures to previous job raised with make and model of pressurisation unit. Hamworthy technical advised to investigate the Fleet boilers as they can sometimes split causing a pressure loss.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 22-16870
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-16870
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-16870
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-16870
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-16870
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes