## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Consett Medical Centre
Station Road
Consett
DH8 5YA
CARRIED OUT ON BEHALF OF
Consett Medical Centre
REPORT NUMBER: 22-16948
DATE OF REPORT: 16/05/2022
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 22-16948
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Consett Medical Centre
Address | Consett Medical Centre
Station Yard
Consett
DH8 5YA
Site Address | Consett Medical Centre
Station Road
Consett
DH8 5YA
Carried Out On | 05/04/2022
Survey Completed By | Graham Parker
SECTION 2: Introduction
2No radiators not working

## Report
ZENITH MECHANICAL SERVICES
Report Number | 22-16948
SECTION 3: Report
Tried to fix a leak in the wc. And carried out a temporary repair to 2 LST radiators in treatment rooms A & B Materials required WC = dual flush with built in overflow. 1x white flush pipe 1x internal flush cone 2x 1/2”x15mm thermostatic remote sensor valves Client will contact us if the work is to be required

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 22-16948
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-16948
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-16948
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-16948
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-16948
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes