## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Communal Area within Flat
YMCA
2 Toward Road
SR1 2QF
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 22-16990
DATE OF REPORT: 06/06/2022
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 22-16990
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | Communal Area within Flat
YMCA
2 Toward Road
SR1 2QF
Carried Out On | 05/04/2022
Survey Completed By | Kieran Holmes
SECTION 2: Introduction
Investigate Communal boiler

## Report
ZENITH MECHANICAL SERVICES
Report Number | 22-16990
SECTION 3: Report
KH 05/04/2022 (OOH) Boiler was operational on arrival. Pressure was fine and heating was running fine. Slight leak from cold water supply on filling loop and corrosion to filling loop. Also the cold water expansion was full of water. I removed old leaking valve recharged expansion to 2 bar and replaced with new valve and filling loop. Cold water prv is passing and will need replacing. None of the issues would have caused the boiler to go off so advised to monitor until the prv can be changed. I have sent pictures to admin account as was not letting me attach to job sheet.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 22-16990
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-16990
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-16990
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-16990
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-16990
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes