## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Carisbrooke court
Chester Terrace
Sunderland
SR1 3SN
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 22-17065
DATE OF REPORT: 06/04/2022
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 22-17065
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | Carisbrooke court
Chester Terrace
Sunderland
SR1 3SN
Carried Out On | 06/04/2022
Survey Completed By | Kieran Holmes
SECTION 2: Introduction
Investigate leaks within flat 14 and 15

## Report
ZENITH MECHANICAL SERVICES
Report Number | 22-17065
SECTION 3: Report
Leak coming through the ceiling flat 4 due to a disturbed CH pipe in flat 15 which is the flat directly above. The CH flow has been isolated at the incoming supply into flat 15 which stopped the leak into flat 4. The floor in the bathroom will need to be lifted to repair the leak which is on the connection to the radiator pipework and TRV. This may have been disturbed when when removing the radiator or when laying the self leveller on the floor. The isolation for the flat is in the kitchen cupboard, thr pipework then goes under the floor and along to the bathroom. The Flue in the plant room is also showing signs of limescale around one of the seals and needs attention (picture attached).

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 22-17065
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-17065
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-17065
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-17065
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-17065
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes