## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Castle Close
Fellside Park
Whickam
NE16 4HU
CARRIED OUT ON BEHALF OF
Castles & Coasts Housing Association
REPORT NUMBER: 22-17075
DATE OF REPORT: 27/04/2022
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 22-17075
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Castles & Coasts Housing Association
Address | Arcadia House
Balliol Business Park
Newcastle Upon Tyne
NE12 8EW
Site Address | Castle Close
Fellside Park
Whickam
NE16 4HU
Carried Out On | 27/04/2022
Survey Completed By | Graham Parker
SECTION 2: Introduction
6 Month Mechanical Check

## Report
ZENITH MECHANICAL SERVICES
Report Number | 22-17075
SECTION 3: Report
3 x Hamworthy purewell = 3 operational 1 x acv greenline calorifier = operational condition poor Flue ok no leaks Flue fan = operational 0.72 amps 1 x jet pressurisation unit = operational 1 x gas interlock = operational All Gauges = faulty. valves = operational Lagging = average visible water leaks on secondary return pump 1 x aecv handle not present 1 x heating expansion vessel = operational charged to 2.7 bar 1 x DHW expansion vessel = operational and charged to 2.7 bar 2 x 3 port mixing valves = operational 2 x Siemens actuators = operational 2 x vt pumps =1 Grundfos 40-60 = operational 1.3 amps. 2 Grundfos 40-60= operational 1.3amps 2 x primary pumps = 1 Grundfos magna1 40-60 = operational 0.8 amps. 2 Grundfos magna1 40-80= operational 1 amps 1 x secondary return pump Grundfos ups 40-50 = operational 0.5 amps Water sample = PH 7 @ 23 degrees and clear

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 22-17075
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-17075
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-17075
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-17075
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-17075
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes