## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
62 Newholm Court
Hartlepool
County Durham
TS25 1UW
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 22-17096
DATE OF REPORT: 07/09/2022
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 22-17096
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 62 Newholm Court
Hartlepool
County Durham
TS25 1UW
Carried Out On | 07/09/2022
Survey Completed By | Rob Porritt
SECTION 2: Introduction
Survey for planned boiler replacement.

## Report
ZENITH MECHANICAL SERVICES
Report Number | 22-17096
SECTION 3: Report
Boiler to be removed - glowworm 18xi heat only Boiler Serial number - 040032972 Combi / heat only / system boiler - heat only Boiler location - kitchen Is 22mm gas pipe visible at boiler - yes Flue type - standard room sealed Any access requirements - non Flue guard needed - no Standoff kit required - no Gas meter internal / external - ex Condensate pump required - no Condensate termination - drain Number of radiators - 6 Size of pipework at radiators - 10 mm opper Number of bathrooms - 1 Electric shower - yes Any other means of heating - no Current Cooker Type - If gas, please state make and model Current Cooker Type - If gas, please state make and model An image of the fuse board is required so Jim Shanley knows what items to carry.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 22-17096
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-17096
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Bathroom
Description
Electric shower
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-17096
SECTION 4: Photos
Room / Area
Description
Standard flue, no gaurd required
Notes
Room / Area
Description
Notes
Room / Area
Hall DB
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-17096
SECTION 4: Photos
Room / Area
Description
Boiler data
Notes
Room / Area
Hall DB
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-17096
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Boiler data
Notes
Room / Area
Description
Notes