## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
4 Alpine Court
Chester-Le-Street
County Durham
DH2 2UE
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 22-17183
DATE OF REPORT: 03/10/2022
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 22-17183
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 4 Alpine Court
Chester-Le-Street
County Durham
DH2 2UE
Carried Out On | 09/09/2022, 03/10/2022
Survey Completed By | Rhys Brown
SECTION 2: Introduction
Replace bedroom rad and flush full system ---- Replace bedroom rad with DC 17X21 as under BTU ---- also flush system as customer states rads do not heat up correctly

## Report
ZENITH MECHANICAL SERVICES
Report Number | 22-17183
SECTION 3: Report
Radiator hung and pipework adjusted to suit.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 22-17183
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-17183
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-17183
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-17183
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-17183
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes