## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
23 Tindale Drive
Fellside Park
Whickam
NE16 4HX
CARRIED OUT ON BEHALF OF
Castles & Coasts Housing Association
REPORT NUMBER: 22-17226
DATE OF REPORT: 13/09/2022
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 22-17226
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Castles & Coasts Housing Association
Address | Arcadia House
Balliol Business Park
Newcastle Upon Tyne
NE12 8EW
Site Address | 23 Tindale Drive
Fellside Park
Whickam
NE16 4HX
Carried Out On | 21/04/2022, 13/09/2022
Survey Completed By | Graeme Brown
SECTION 2: Introduction
Mrs Johnson at no. 23 reports that she is having problems with hot water in bathroom - hot water ok through bath but in order to use hot water on shower or basin she has to run hot tap on bath. All cold water coming through ok. Please attend and rectify.

## Report
ZENITH MECHANICAL SERVICES
Report Number | 22-17226
SECTION 3: Report
Blending valve under basin to be replaced Model and make emailed to admin account GB-13/09/22- Replaced 15mm TMV underneath bathroom basin, FOW required, 15mm isolation valves on the hot and cold need replacing and boxing in to be removed to gain access to the valves. Hot water still coming out of the tap hot then cold but the pressure on the basin is a lot less than what it is on the bath, so think the isolation valves are not opening up fully so the TMV is shutting down due to lack of pressure. Also if you open the bath hot tap and have the basin hot tap open the water gets hotter out of the basin tap.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 22-17226
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-17226
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-17226
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-17226
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-17226
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes