## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
8 Brinkburn Court
North Shields
Tyne and Wear
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 22-17406
DATE OF REPORT: 20/05/2022
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 22-17406
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 8 Brinkburn Court
North Shields
Tyne and Wear
Carried Out On | 20/05/2022
Survey Completed By | James Shanley
SECTION 2: Introduction
Electrical works for boiler install.

## Report
ZENITH MECHANICAL SERVICES
Report Number | 22-17406
SECTION 3: Report
Combi: Yes Conversion: S/plan: Y/plan: Zoned: Earthing system: TNCS Main Fuse: LIM Meter tail size: 25 Main earth size: 16 Gas bond: 10 tick box as connection has been visible seen Water bond: 10 tick box as connection has been visible seen Consumer unit: MAKE: WYLEX MCB SIZE: 6 EDITION: 17th edition plastic LOCATION: Hallway CIRCUIT DESCRIPTION: Water Heater CIRCUIT NUMBER: 4 Ze: .18 PFC: 1.26KA Zdb: .18 PFC: 1.28KA PSCC: 1.30KA L-L: NA N-N: NA E-E: NA R1+R2: .08 Zs:.38 30mA: Yes RCD X 1: 28.2 RCD X 5: 12.6 100mA: NA Any issues with installation ie: FAULT CODES EQUIPMENT USED: WAS A RCBO USED:No STAT: RF PROGRAMMER:No CYL STAT:No WIRING CENTRE:No CROSS BONDED:No BLANK PLATES:No FUSED SPUR CONNECTION UNIT: No BACK-BOX:No WAGO’s: No TRUNKING: No CABLE 5 CORE: 1 meter CABLE 3 CORE: No ANY OTHER CABLE USED: Clips

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 22-17406
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-17406
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-17406
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-17406
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-17406
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes