## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Community Building, Lambourne Close
Bournmoor
Houghton-Le-Spring
DH4 6EW
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 22-17421
DATE OF REPORT: 04/08/2022
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 22-17421
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | Community Building, Lambourne Close
Bournmoor
Houghton-Le-Spring
DH4 6EW
Carried Out On | 04/08/2022
Survey Completed By | Gareth Duncan
SECTION 2: Introduction
Survey for boiler replacement.

## Report
ZENITH MECHANICAL SERVICES
Report Number | 22-17421
SECTION 3: Report
Boiler to be removed - Worcester Greenstar 30si Boiler Serial number -7716130140 006 2147471 Combi / heat only / system boiler - Combi Boiler location - Community kitchen Is 22mm gas pipe visible at boiler - yes Flue type - rsh Any access requirements - no Flue guard needed - no Standoff kit required - no Gas meter internal / external - external Condensate pump required - no Condensate termination - ??? See notes Number of radiators - 4 Size of pipework at radiators - 15mm Number of bathrooms - 1 Electric shower - na Any other means of heating - na Current Cooker Type - Non fitted BAGONET FITTED TO BE REMOVED CONDENSATE HAS NO VISABLE TERMINATION POINT. POSSIBLY SNAPPED AND FELL BEHIND FITTED UNITS BUT NO PHYSICAL POINT OF TERMINATION UNDER SINK INTO TRAP BUT COULD HAVE ORIGINALLY BEEN FITTED TO WASTE.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 22-17421
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-17421
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-17421
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-17421
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-17421
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes