## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
24 Chirdon Crescent
Hexham
Northumberland
NE46 1DH
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 22-17636
DATE OF REPORT: 11/01/2023
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 22-17636
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 24 Chirdon Crescent
Hexham
Northumberland
NE46 1DH
Carried Out On | 11/01/2023
Survey Completed By | Ste Hind
SECTION 2: Introduction
Electrics for boiler install

## Report
ZENITH MECHANICAL SERVICES
Report Number | 22-17636
SECTION 3: Report
Combi: yes Conversion: S/plan: Y/plan: Zoned: Earthing system: TT: ROD LOCATION: TN-S: TN-C-S:yes Main Fuse: 60A: 63A: 80A:yes 100A: Meter tail size: 16mm: 25mm:yes Main earth size: 10mm: 16mm:yes Gas bond: 10mm:yes Water bond: 10mm:yes Plastic: Consumer unit: plastic MAKE: Crabtree MCB SIZE: 6A: 10A: 16A:yes 32A: RCBO SIZE: 6A: 10A: 16A: 32A: RCBO TYPE: A: AC: EDITION: 15th: 16th: 17th: yes 18th: SPD YES TYPE: NO: no LOCATION: kitchen cupboard CIRCUIT DESCRIPTION: heating CIRCUIT NUMBER:3 NUMBER OF WAYS DB: 8 Ze: 0.32 PFC: 1.052 Karbon Zdb: PFC: PSCC: L-L: N-N: E-E: R1+R2:0.83 Zs: 0.55 30mA:yes RCD X 1: 28.4 RCD X 5: 10.5 RCD TYPE: A RCD TYPE: AC 100mA: Any issues with installation ie: FAULT CODES EQUIPMENT USED: WAS A RCBO USED: STAT: yes WIRED: yes RF: PROGRAMMER: yes CYL STAT: WIRING CENTRE: CROSS BONDED: yes X 5: X 6: BLANK PLATES: Single: Double: FUSED SPUR CONNECTION UNIT: BACK-BOX: 1 WAGO’s: 1 TRUNKING: CABLE 5 CORE: 1m CABLE 3 CORE: 6mm EARTH: ANY OTHER CABLE USED:

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 22-17636
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-17636
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-17636
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-17636
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-17636
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes