## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
24 Boyntons
Nettlesworth
Chester-le-Street
DH2 3PD
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 22-17719
DATE OF REPORT: 26/04/2022
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 22-17719
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 24 Boyntons
Nettlesworth
Chester-le-Street
DH2 3PD
Carried Out On | 26/04/2022
Survey Completed By | Rhys Brown
SECTION 2: Introduction
Survey for boiler replacement

## Report
ZENITH MECHANICAL SERVICES
Report Number | 22-17719
SECTION 3: Report
Boiler to be removed - baci duo tec 28 Boiler Serial number - Boiler location - bedroom cupboard Is 22mm gas pipe visible at boiler - yes Flue type - vertical 2 extensions and 45’s Any access requirements-roofer for flue Flue guard needed - no Stand off kit required - no Gas meter internal / external - external Condensate pump required -no Condensate termination - internal Updated controls required - yes Filter needed - magna clean pro 2 Number of radiators - 9 Size of pipework at radiators -10mm Number of bathrooms - 1 Electric shower - no Any other means of heating -no

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 22-17719
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-17719
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-17719
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-17719
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-17719
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes