## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
4 Brae Well Close
West Woodburn
Hexham
NE48 2RT
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 22-17864
DATE OF REPORT: 29/04/2022
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 22-17864
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 4 Brae Well Close
West Woodburn
Hexham
NE48 2RT
Carried Out On | 29/04/2022
Survey Completed By | Rhys Brown
SECTION 2: Introduction
Leak on heating system Air source - water leak both in lounge and bathroom. It seems to be coming from the radiator wall between the two rooms. It has Leak on heating system Air source - water leak both in lounge and bathroom. It seems to be coming from the radiator wall between the two rooms. It has extended into my built in cupboard which is in the corner of my living room on... the opposite side of the kitchen door. Karbon don;t have the resource to attend.

## Report
ZENITH MECHANICAL SERVICES
Report Number | 22-17864
SECTION 3: Report
Investigated leak, no visible signs of leaking in cylinder cupboard apart from underneath smaller buffer vessel. Water seeming to be under floor boards which is causing them to warp. No water meter to check if it is a mains leakage but seems unlikely as there would be no reason for water to be over that side of the house. Seems unlikely that water is leaking from the buffer vessel it’s self as the pressure on the system is correct and has not been dropping. When we re attend we should check under the wearock to see if there is any pipe work underneath and also remove the hot water cylinder to see if the leak is coming from there.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 22-17864
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-17864
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-17864
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-17864
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-17864
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes