## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
52 Adderlane Road
Prudhoe
NE42 5HS
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 22-18011
DATE OF REPORT: 04/05/2022
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 22-18011
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 52 Adderlane Road
Prudhoe
NE42 5HS
Carried Out On | 04/05/2022
Survey Completed By | Rhys Brown
SECTION 2: Introduction
Please amend stop tap position as per John Hepworth

## Report
ZENITH MECHANICAL SERVICES
Report Number | 22-18011
SECTION 3: Report
Repiped incoming pipe work to fit in a 15mm sure stop and amended pipework under sink to suite. Sure stop was purchased under this job number. Also attended 25 willow crescent to investigate leak coming from ceiling but no leak to be founded. Wet patch must of been from a spilt drink upstairs got through the floor boards.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 22-18011
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-18011
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-18011
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-18011
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-18011
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes