## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
8 Garth Cottages
Hexham
Northumberland
NE46 2EU
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 22-18084
DATE OF REPORT: 04/05/2022
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 22-18084
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 8 Garth Cottages
Hexham
Northumberland
NE46 2EU
Carried Out On | 04/05/2022
Survey Completed By | Rhys Brown
SECTION 2: Introduction
Survey for new boiler

## Report
ZENITH MECHANICAL SERVICES
Report Number | 22-18084
SECTION 3: Report
Boiler to be removed - potterton gold combi HE Boiler Serial number - Boiler location - living room cupboard Is 22mm gas pipe visible at boiler - yes Flue type -horizontal off boiler then vertical 2 extensions 2 45’s. Will need an elbow off top of boiler Any access requirements - roof ladder will be required. Flue guard needed - no Stand off kit required - no Gas meter internal / external -external Condensate pump required - no Condensate termination - external. 2 lengths of 32 required. Number of radiators - 7 Size of pipework at radiators - Number of bathrooms - 10mm Electric shower - yes Any other means of heating - no Current Cooker Type - gas If gas please state make and model flavel DCG61WP Current Cooker Type - If gas please state make and model

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 22-18084
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-18084
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-18084
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-18084
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-18084
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes