## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
14 Summerdale
Consett
Durham
DH8 0EJ
CARRIED OUT ON BEHALF OF
Mrs Love
REPORT NUMBER: 22-18164
DATE OF REPORT: 06/05/2022
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 22-18164
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Mrs Love
Address | 14 Summerdale
Shotley Bridge
Consett
Co Durham
DH8 0ET
Site Address | 14 Summerdale
Consett
Durham
DH8 0EJ
Carried Out On | 05/05/2022
Survey Completed By | Daniel Lockey
SECTION 2: Introduction
Please asses reason for no hot water and determine if it is cost effective to repair or replace

## Report
ZENITH MECHANICAL SERVICES
Report Number | 22-18164
SECTION 3: Report
Worcester Greenstar 24i Located in cellar Horizontal flue New magnetic filter needed New cold water filter needed New cold mini expansion needed Condesate runs external into drain- 1 length of 32mm, 2 elbows, 1 45 (black) and one length of overflow pipe and x 2 45s (probably only need half a length of each if that) New flue guard required Gas in 22mm to meter in cellar also Stop tap in cellar Gas hob and gas fire in property House with 2 bedrooms 15mm pipework - 6 x Radiators (TRVs could do with upgrading)

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 22-18164
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-18164
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-18164
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-18164
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-18164
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes