## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
17 Aged Miners Homes
Nichols Close
Wheatley Hill
DH6 3BS
CARRIED OUT ON BEHALF OF
DAMHA
REPORT NUMBER: 22-18260
DATE OF REPORT: 07/05/2022
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 22-18260
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | DAMHA
Address | Durham Aged Mineworkers Homes
P.O. Box 31, The Grove
168 Front Street
Chester Le Street
DH3 3YH
Site Address | 17 Aged Miners Homes
Nichols Close
Wheatley Hill
DH6 3BS
Carried Out On | 07/05/2022
Survey Completed By | Graeme Brown
SECTION 2: Introduction
Tenants heating is on permenantly

## Report
ZENITH MECHANICAL SERVICES
Report Number | 22-18260
SECTION 3: Report
Heating would not turn off. Disconnected both zone valves and reconnected them and now boiler receiving signal to turn off when stat is turned off

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 22-18260
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-18260
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-18260
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-18260
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-18260
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes