## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
7 George Parkinson Court
Sherburn Village
Durham
DH6 1EU
CARRIED OUT ON BEHALF OF
DAMHA
REPORT NUMBER: 22-18262
DATE OF REPORT: 08/05/2022
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 22-18262
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | DAMHA
Address | Durham Aged Mineworkers Homes
P.O. Box 31, The Grove
168 Front Street
Chester Le Street
DH3 3YH
Site Address | 7 George Parkinson Court
Sherburn Village
Durham
DH6 1EU
Carried Out On | 08/05/2022
Survey Completed By | Graeme Brown
SECTION 2: Introduction
No Heating / Hw - Check function of radiators

## Report
ZENITH MECHANICAL SERVICES
Report Number | 22-18262
SECTION 3: Report
Two zone valves in property. Only one opening but only one stat I property. Tenant lived there three years and only used that stat. Opened other zone valve manually so rest of rads heat up when heating on. Sparky required to look at zone valve wiring

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 22-18262
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-18262
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-18262
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-18262
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-18262
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes