## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
50 widsor Crescent
Ovingham
Prudhoe
NE42 6AZ
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 22-18350
DATE OF REPORT: 10/05/2022
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 22-18350
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 50 widsor Crescent
Ovingham
Prudhoe
NE42 6AZ
Carried Out On | 10/05/2022
Survey Completed By | Rhys Brown
SECTION 2: Introduction
Karbon electricians have went through a heating manifold with a saw, please repair.

## Report
ZENITH MECHANICAL SERVICES
Report Number | 22-18350
SECTION 3: Report
Capped pipework under boiler and repressurised. Boiler working On hot water. Zenith to return to job to replace manifold. When on site also attended 28 Windsor to fix leak coming from kitchen sink.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 22-18350
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-18350
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-18350
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-18350
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-18350
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes