## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
16 Park View
Park Road
Lynwmouth
NE61 5XL
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 22-18440
DATE OF REPORT: 08/09/2022
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 22-18440
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 16 Park View
Park Road
Lynwmouth
NE61 5XL
Carried Out On | 13/05/2022, 18/05/2022, 21/05/2022, 08/09/2022
Survey Completed By | Rob Porritt
SECTION 2: Introduction
No Heating / HW

## Report
ZENITH MECHANICAL SERVICES
Report Number | 22-18440
SECTION 3: Report
Arrived on site to find the issue was the main water heater in the plant room. Fault was traced to a pcb which no branches hold on stock. Had to get a temporary unvented cylinder dropped off then pipe up and check circulation. Materials were obtained from crosslings ashington 18/05/22 Changed over pcb. But fan is required still as a surge also took out the fan. This has been ordered 21/05/22 Fit replacement faulty fan and make sure water heater is operational.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 22-18440
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-18440
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-18440
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-18440
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-18440
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes