## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
33 Rosebank Hall
Wallsend
North Tyneside
NE28 7BT
CARRIED OUT ON BEHALF OF
S4NT
REPORT NUMBER: 22-18464
DATE OF REPORT: 24/05/2022
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 22-18464
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | S4NT
Address | Quadrant The Silverlink North
Colbalt Business Park
North Tyneside
NE27 0BY
Site Address | 33 Rosebank Hall
Wallsend
North Tyneside
NE28 7BT
Carried Out On | 14/05/2022
Survey Completed By | Christopher Reynolds
SECTION 2: Introduction
No Heating / HW

## Report
ZENITH MECHANICAL SERVICES
Report Number | 22-18464
SECTION 3: Report
14/05/22 - CR - Attended site to find boilers in fault. Reset the appliances and they fired back up without issue. Checked plant room for normal operation and waited on site for a temperature rise before leaving site. Job complete

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 22-18464
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-18464
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-18464
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-18464
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-18464
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes