## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
3 Melford Place
North Shields
Tyne & Wear
NE29 8QL
CARRIED OUT ON BEHALF OF
karbon Homes
REPORT NUMBER: 22-18546
DATE OF REPORT: 23/05/2022
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 22-18546
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 3 Melford Place
North Shields
Tyne & Wear
NE29 8QL
Carried Out On | 23/05/2022
Survey Completed By | Rhys Brown
SECTION 2: Introduction
Planned survey in preperation for new boiler

## Report
ZENITH MECHANICAL SERVICES
Report Number | 22-18546
SECTION 3: Report
Boiler to be removed - Worcester greenstar 25si Boiler Serial number - Boiler location - kitchen Is 22mm gas pipe visible at boiler - yes Flue type - vertical 1 extension and set of 45s Any access requirements - no Flue guard needed - no Stand off kit required - yes Gas meter internal / external -external Condensate pump required - no Condensate termination - internal Number of radiators - 6 Size of pipework at radiators - unable to see Number of bathrooms - 1 Electric shower - yes Any other means of heating - no Current Cooker Type - gas If gas please state make and model Current Cooker Type - essentials If gas please state make and model na

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 22-18546
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-18546
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-18546
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-18546
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-18546
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes