## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
11 Millersfield
Acomb
Hexham
NE46 4QU
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 22-18729
DATE OF REPORT: 08/09/2022
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 22-18729
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 11 Millersfield
Acomb
Hexham
NE46 4QU
Carried Out On | 07/09/2022
Survey Completed By | Rhys Brown
SECTION 2: Introduction
Planned survey in preperation for boiler install

## Report
ZENITH MECHANICAL SERVICES
Report Number | 22-18729
SECTION 3: Report
Boiler to be removed -vaillant eco tec plus Boiler Serial number - Combi / heat only / system boiler -combi Boiler location -hallway cupboard Is 22mm gas pipe visible at boiler -yes Flue type -vertical 2 extensions 2 45s Any access requirements -no roof is tiled and not strap so no roofer required. Flue guard needed -no Standoff kit required -no Gas meter internal / external -internal Condensate pump required -no Condensate termination -internal Number of radiators -6 Size of pipework at radiators -10mm Number of bathrooms -1 Electric shower -no Any other means of heating -no Current Cooker Type -gas If gas, please state make and model Current Cooker Type -BUSH Ag56TW If gas, please state make and model An image of the fuse board is required so Jim Shanley knows what items to carry. Couldn’t get to fuse box Tenant number 07510243101

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 22-18729
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-18729
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-18729
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-18729
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-18729
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes