## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
24 Teal Close
Longbenton
Newcastle Upon Tyne
NE7 7TG
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 22-18819
DATE OF REPORT: 26/05/2022
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 22-18819
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 24 Teal Close
Longbenton
Newcastle Upon Tyne
NE7 7TG
Carried Out On | 25/05/2022
Survey Completed By | Kieran Holmes
SECTION 2: Introduction
Reactive survey for boiler replacement.

## Report
ZENITH MECHANICAL SERVICES
Report Number | 22-18819
SECTION 3: Report
Boiler to be removed - Worcester greenstar Boiler Serial number - Boiler location - Kitchen Cupboard Is 22mm gas pipe visible at boiler - Flue type - horizontal Any access requirements - Flue guard needed - No Standoff kit required - No Gas meter internal / external - External Condensate pump required - Condensate termination - Number of radiators - Size of pipework at radiators - Number of bathrooms - 1 Electric shower - Yes Any other means of heating - No Current Cooker Type - If gas, please state make and model Current Cooker Type - Electric If gas, please state make and model

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 22-18819
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-18819
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-18819
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-18819
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-18819
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes