## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
7 Chapelville
Front Street
Seaton Burn
NE13 6EH
CARRIED OUT ON BEHALF OF
S4NT
REPORT NUMBER: 22-18980
DATE OF REPORT: 07/06/2022
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 22-18980
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | S4NT
Address | Quadrant The Silverlink North
Colbalt Business Park
North Tyneside
NE27 0BY
Site Address | 7 Chapelville
Front Street
Seaton Burn
NE13 6EH
Carried Out On | 30/05/2022, 31/05/2022, 06/06/2022
Survey Completed By | Graham Parker
SECTION 2: Introduction
Hot water issues in flat - water goes from warm to cold when using the shower

## Report
ZENITH MECHANICAL SERVICES
Report Number | 22-18980
SECTION 3: Report
Found 2 faulty valves in the cupboard. Have to order up 2 x22mm lever valve and 1 x 15mm lever valve to replace as valve have broken also.require some fittings All taps and shower previously been replaced 06/06/22 Found the issue was effecting a number of properties within a wing. Found a valve in the lobby was isolated so this was turned back on and found a blocked kempar orifice temperature valve was blocked. Managed to free this up and got secondary circulation back on the hot water. If this happens again I would recommend draining down the secondary hot water circuit and cutting this valve out

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 22-18980
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-18980
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-18980
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-18980
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-18980
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes