## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
33 Hamsterley Gardens
Stanley
County Durham
DH9 8JP
CARRIED OUT ON BEHALF OF
G Emerson
REPORT NUMBER: 22-19143
DATE OF REPORT: 03/08/2022
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 22-19143
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | G Emerson
Address | 8 Seagent Place
The Woodlands
Shotley Bridge
Consett
DH8 0TR
Site Address | 33 Hamsterley Gardens
Stanley
County Durham
DH9 8JP
Carried Out On | 31/05/2022
Survey Completed By | Daniel Lockey
SECTION 2: Introduction
Issue with radiator in the property

## Report
ZENITH MECHANICAL SERVICES
Report Number | 22-19143
SECTION 3: Report
Radiator has came away from wall in hallway - system needs drained, radiator re-installed and pipe work cut back where it has been damaged and new valves. (2 hours work) Pipe work is 8/10mm copper. Possibly have enough play in pipe work but otherwise will need 2 x 8/10mm straight connectors and small bit of pipe Radiator has be removed and made safe

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 22-19143
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-19143
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-19143
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-19143
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-19143
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes