## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
18 Windsor Crescent
Ovingham
Prudhoe
NE42 6AS
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 22-19355
DATE OF REPORT: 12/07/2022
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 22-19355
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 18 Windsor Crescent
Ovingham
Prudhoe
NE42 6AS
Carried Out On | 10/06/2022, 22/06/2022, 12/07/2022
Survey Completed By | Rhys Brown
SECTION 2: Introduction
Kitchen install - (existing sink to refit and cooker position to move)

## Report
ZENITH MECHANICAL SERVICES
Report Number | 22-19355
SECTION 3: Report
Relocated cooker point, first and second fix kitchen sink and pipe work to outside for tap - FOW to install outside tap due to not having one available Gas tested sound DL Outside tap fitted 17/7/22 RB

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 22-19355
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-19355
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-19355
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-19355
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-19355
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes