## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
50 Windsor Crescent
Ovingham
Prudhoe
NE42 6AZ
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 22-19357
DATE OF REPORT: 14/06/2022
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 22-19357
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 50 Windsor Crescent
Ovingham
Prudhoe
NE42 6AZ
Carried Out On | 10/06/2022, 14/06/2022
Survey Completed By | Rhys Brown
SECTION 2: Introduction
Kitchen isntall. Hall rads and also the bathroom mixer tap, these are still not working from when we fixed the damaged manifold.

## Report
ZENITH MECHANICAL SERVICES
Report Number | 22-19357
SECTION 3: Report
Water not circulating through hall and kitchen radiator - flushed through both radiators at both valves(sides) and water is flowing freely and getting hot. Possible that the pipes have been crossed when fixing manifold. FOW to investigate further and also replace 10mm TRV in kitchen due to been damaged. Issue with Bath taps has been rectified DL Drained system down and re piped manifold to solve issue. Checked all rads before leaving site and all were hot. Changed TRV with stock that was on van.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 22-19357
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-19357
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-19357
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-19357
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-19357
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes