## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
41 Boyntons
Nettlesworth
Chester-le-Street
DH2 3PD
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 22-19417
DATE OF REPORT: 08/06/2022
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 22-19417
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 41 Boyntons
Nettlesworth
Chester-le-Street
DH2 3PD
Carried Out On | 08/06/2022
Survey Completed By | Daniel Lockey
SECTION 2: Introduction
Reactive survey for boiler replacement.

## Report
ZENITH MECHANICAL SERVICES
Report Number | 22-19417
SECTION 3: Report
Boiler to be removed - Baxi Duo-tec 28 Boiler Serial number - CAC084720198EC Combi / heat only / system boiler - Combi Boiler location - upstairs bedroom cupboard Is 22mm gas pipe visible at boiler - yes Flue type - Standard horizontal flue Any access requirements - NO access to flue via flat roof Flue guard needed - NO Standoff kit required - NO Gas meter internal / external - External Condensate pump required - NO Condensate termination - Internal Number of radiators - 8 Size of pipework at radiators - 10mm Number of bathrooms - 1 Electric shower - Yes Any other means of heating - NO Current Cooker Type - electric Not much to alter on this job. 1 x length 15mm copper 1 x length 22mm copper 1 x length of overflow pipe Selection of fittings for each Filters and mini expansion required

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 22-19417
SECTION 4: Photos
Room / Area
Bedroom
Description
Boiler location
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-19417
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-19417
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-19417
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-19417
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes