## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
85 Crossfields
Coulby Newham
Middlesbrough
TS8 0TT
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 22-19449
DATE OF REPORT: 23/06/2022
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 22-19449
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 85 Crossfields
Coulby Newham
Middlesbrough
TS8 0TT
Carried Out On | 15/06/2022, 22/06/2022, 23/06/2022
Survey Completed By | Paul Nichol
SECTION 2: Introduction
Kitchen install

## Report
ZENITH MECHANICAL SERVICES
Report Number | 22-19449
SECTION 3: Report
First fix of property complete Second fix to be completed Friday Fit x2 washing machine valves no leaks found PN 23-6-22 Nut on isolation valve needed tightened

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 22-19449
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-19449
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-19449
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-19449
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-19449
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes