## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Consett Medical Centre
Station Road
Consett
DH8 5YA
CARRIED OUT ON BEHALF OF
Consett Medical Centre
REPORT NUMBER: 22-19462
DATE OF REPORT: 22/06/2022
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 22-19462
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Consett Medical Centre
Address | Consett Medical Centre
Station Yard
Consett
DH8 5YA
Site Address | Consett Medical Centre
Station Road
Consett
DH8 5YA
Carried Out On | 14/06/2022, 22/06/2022
Survey Completed By | Rhys Brown
SECTION 2: Introduction
Complete plumbing repairs as per David Hunter

## Report
ZENITH MECHANICAL SERVICES
Report Number | 22-19462
SECTION 3: Report
Removed and refitted two upstairs basins as they were loose. Removed barrels from one basin tap and cleaned up got it working as it should. Other basin tap was not originally set up correct so adjusted it so it was working correctly. Toilet flush pipe has no leaks. When checking at wolsley radiator sensors had not come in do this is still to be complete. Radiator valves installed

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 22-19462
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-19462
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-19462
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-19462
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-19462
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes