## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
24 Willow Crescent
Leadgate
Consett
DH8 7RQ
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 22-19501
DATE OF REPORT: 10/06/2022
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 22-19501
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 24 Willow Crescent
Leadgate
Consett
DH8 7RQ
Carried Out On | 10/06/2022
Survey Completed By | Mark Hutchinson
SECTION 2: Introduction
Reactive survey for boiler replacement.

## Report
ZENITH MECHANICAL SERVICES
Report Number | 22-19501
SECTION 3: Report
Boiler to be removed - Vaillant Eco Tec Pro 28 Boiler Serial number - 210912308511-1300020859N3 Combi / heat only / system boiler - Combi Boiler location - Bathroom Cupboard Is 22mm gas pipe visible at boiler - Yes Flue type - Horizontal Any access requirements - None Flue guard needed - No Standoff kit required - No Gas meter internal / external - Internal Condensate pump required - No Condensate termination - Directly into bathroom waste Number of radiators - 6 Size of pipework at radiators - 10mm to 15mm dependant Number of bathrooms - 1 Electric shower - No (Mixer) Any other means of heating - None Current Cooker Type - Gas Hob Make: Hotpoint Model:G750TX If gas, please state make and model Current Cooker Type - If gas, please state make and model

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 22-19501
SECTION 4: Photos
Room / Area
Bathroom
Description
Boiler
Notes
None
Room / Area
Description
Notes
Room / Area
Kitchen
Description
Radiator
Notes
None
ZENITH MECHANICAL SERVICES
Report Number | 22-19501
SECTION 4: Photos
Room / Area
Kitchen
Description
Gas hob
Notes
NONE
Room / Area
Lounge
Description
Radiator
Notes
None
Room / Area
Hall
Description
Radiator
Notes
None
ZENITH MECHANICAL SERVICES
Report Number | 22-19501
SECTION 4: Photos
Room / Area
Understairs
Description
Gas meter
Notes
None
Room / Area
Bed 1
Description
Radiator
Notes
None
Room / Area
Bathroom
Description
Radiator
Notes
None
ZENITH MECHANICAL SERVICES
Report Number | 22-19501
SECTION 4: Photos
Room / Area
Bed 2
Description
Radiator
Notes
None
Room / Area
Bathroom
Description
Data badge
Notes
None
Room / Area
Description
Outside
Flue & PRV
ZENITH MECHANICAL SERVICES
None
Report Number | 22-19501
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes