## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
27 Athlone Court
Blyth
Northumberland
NE24 1EW
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 22-19528
DATE OF REPORT: 11/06/2022
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 22-19528
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 27 Athlone Court
Blyth
Northumberland
NE24 1EW
Carried Out On | 10/06/2022
Survey Completed By | Paul Nichol
SECTION 2: Introduction
Repair fault to central heating system - Tenant has no c. heating or hot water since repairs carried out to no 29 Have rang Zenith and they are going to attend as soon as possible

## Report
ZENITH MECHANICAL SERVICES
Report Number | 22-19528
SECTION 3: Report
PN 10/6/22 Manually overrode 3port to check heating was working got heat into radiators Put back to auto

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 22-19528
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-19528
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-19528
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-19528
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-19528
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes