## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
17 Lingfield Road
Bradford
West Yorkshire
BD15 0AZ
CARRIED OUT ON BEHALF OF
Home Group
REPORT NUMBER: 22-19569
DATE OF REPORT: 07/11/2022
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 22-19569
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Home Group
Address | 2 Gosforth Park Way
Gosforth Business Park
Gosforth Business Park
Newcastle upon Tyne
NE12 8ET
Site Address | 17 Lingfield Road
Bradford
West Yorkshire
BD15 0AZ
Carried Out On | 07/11/2022
Survey Completed By | Paul Nichol
SECTION 2: Introduction
Survey for replacement boiler

## Report
ZENITH MECHANICAL SERVICES
Report Number | 22-19569
SECTION 3: Report
Upstairs Smoke Alarm Location & Date -top of stairs sep 2030 Downstairs Smoke Alarm Location & Date -passage sep2023 Heat Alarm Location & Date -none in property Co Alarm Location & Date -in top of boiler in passage cupboard dec 2028 Co Alarm Replaced - Yes/No no Boiler to be removed -yes Boiler Serial number –AWA081419943BC Job Type – Conversion / boiler replacement / full heating -full heating Combi / heat only / system boiler -combi Boiler location -passage cupboard Is 22mm gas pipe visible at boiler -yes Flue type –horizontal If vertical please note amount of extensions and flue bends MUST BE ACCURATE Any access requirements to access flue -no Flue guard needed -yes Standoff kit required -no Gas meter internal / external –internal Condensate Condensate pump required – Yes/No no Condensate current termination acceptable yes or no -no If no what needs to be amended to bring it up to regs ?brought through wall to join up with existing 32mm Is the condensate currently through the wall in 19 or 32mm ?19 Number of radiators -8 Size of pipework at radiators -10mm Number of bathrooms -1 Electric shower -yes Any other means of heating -electric fire Current Cooker Type – Electric / Gas/ gas Current Fire Type – Electric / Gas. electric Radiator sizes Passage 1600x600 Living room 900x700 Kitchen 1100x600 Dining room 1100x600 Bathroom 640x700 Bedroom 1 1600x600 Bedroom 2 1100x600 Bedroom 3 1600x600

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 22-19569
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-19569
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-19569
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-19569
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-19569
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes