## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
31 Lingfield Road
Bradford
West Yorkshire
BD15 0BB
CARRIED OUT ON BEHALF OF
Home Group
REPORT NUMBER: 22-19570
DATE OF REPORT: 22/12/2022
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 22-19570
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Home Group
Address | 2 Gosforth Park Way
Gosforth Business Park
Gosforth Business Park
Newcastle upon Tyne
NE12 8ET
Site Address | 31 Lingfield Road
Bradford
West Yorkshire
BD15 0BB
Carried Out On | 22/12/2022
Survey Completed By | Rhys Brown
SECTION 2: Introduction
Survey for replacement boiler

## Report
ZENITH MECHANICAL SERVICES
Report Number | 22-19570
SECTION 3: Report
Boiler to be removed -promax Combi HE plus Boiler Serial number – AWA 151530 167LC Job Type – Conversion / boiler replacement / full heating -full heating Combi / heat only / system boiler -Combi Boiler location -downsiars cupboard Is 22mm gas pipe visible at boiler -yes Flue type – If vertical please note amount of extensions and flue bends MUST BE ACCURATE. Horizontal Any access requirements to access flue -no Flue guard needed -no Standoff kit required -no Gas meter internal / external –external Condensate Condensate pump required – Yes/No Condensate current termination acceptable yes or no -no If no what needs to be amended to bring it up to regs ? Needs brought out in 32 mam Is the condensate currently through the wall in 19 or 32mm ? 19 Goes in to Number of radiators - Size of pipework at radiators -15mm Number of bathrooms -1 Electric shower -yea Any other means of heating - no Current Cooker Type – Electric / Gas. Hob Current Fire Type – Electric / Gas. Baumatic Rads Living room- 600x900 dpx Hallway-1450x600 single Kitchen- 1450x600 single (would like moving position to other side of kitchen has been rad there before so is boxing to run pipes) Bathroom- 600x800 single Bed 1- 1270x600 dpx Bed 2- 950x600 dpx (wants rad moved to under window is gobered by 450 hight if under window) Bed 3 900x450 single ( wants double rad as bedroom never get hot)

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 22-19570
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-19570
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-19570
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-19570
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-19570
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes