## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
31 Gallows Hill Drive
Ripon
North Yorkshire
HG4 1UP
CARRIED OUT ON BEHALF OF
Home Group
REPORT NUMBER: 22-19701
DATE OF REPORT: 16/01/2023
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 22-19701
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Home Group
Address | 2 Gosforth Park Way
Gosforth Business Park
Gosforth Business Park
Newcastle upon Tyne
NE12 8ET
Site Address | 31 Gallows Hill Drive
Ripon
North Yorkshire
HG4 1UP
Carried Out On | 13/01/2023
Survey Completed By | Russell Cowan
SECTION 2: Introduction
Survey for radiators and dist convectors

## Report
ZENITH MECHANICAL SERVICES
Report Number | 22-19701
SECTION 3: Report
Boiler to be removed - potterton pro max Boiler Serial number – Job Type – boiler replacement Combi Boiler location - kitchen Is 22mm gas pipe visible at boiler - yes Flue type – horizontal Any access requirements to access flue - no Flue guard needed - no Standoff kit required - no Gas meter external Condensate Condensate pump required – no Condensate current termination acceptable yes or no - If no what needs to be amended to bring it up to regs ? Is the condensate currently through the wall in 19 or 32mm ? Number of radiators - 5 Size of pipework at radiators - 15 Number of bathrooms - 1 Electric shower - yes Any other means of heating - no Current Cooker Type – Electric Current Fire Type –

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 22-19701
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-19701
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-19701
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-19701
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-19701
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes