## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
5 Derwent Crescent
Great Lumley
Chester-le-Street
DH3 4JX
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 22-19726
DATE OF REPORT: 15/06/2022
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 22-19726
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 5 Derwent Crescent
Great Lumley
Chester-le-Street
DH3 4JX
Carried Out On | 15/06/2022
Survey Completed By | Mark Hutchinson
SECTION 2: Introduction
Issues with new boiler that was replaced by yourselves last month tenant reports high pitched and strange noises coming from boiler and it also keeps switching itself on and off

## Report
ZENITH MECHANICAL SERVICES
Report Number | 22-19726
SECTION 3: Report
Customer had the thermostat set to 30 and the boilers temp set to 50. Boiler started kettling due to the heat. I've advised him to never put it to 30 degrees. All TRVs are also on Max in the middle of summer.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 22-19726
SECTION 4: Photos
Room / Area
Hall
Description
Stat
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-19726
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-19726
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-19726
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-19726
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes