## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
21 Aged Miners Homes
Coast Road
Blackhall
TS27 4HG
CARRIED OUT ON BEHALF OF
DAMHA
REPORT NUMBER: 22-19768
DATE OF REPORT: 18/07/2022
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 22-19768
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | DAMHA
Address | Durham Aged Mineworkers Homes
P.O. Box 31, The Grove
168 Front Street
Chester Le Street
DH3 3YH
Site Address | 21 Aged Miners Homes
Coast Road
Blackhall
TS27 4HG
Carried Out On | 18/07/2022
Survey Completed By | Jake Dowson
SECTION 2: Introduction
Investigate banging noise on boiler

## Report
ZENITH MECHANICAL SERVICES
Report Number | 22-19768
SECTION 3: Report
KH 16/06/2022 Solar pump on drain back unit making loud noise due to pump running dry. System requires more water. If this does not solve issue then pump requires chanigng. JD 18-7-2022 Refilled drain back station pump seemed to be working as normal but it was too warm outside so the pump knocked off after 10 minutes.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 22-19768
SECTION 4: Photos
Room / Area
Loft space
Description
Notes
Room / Area
Loft space
Description
Notes
Room / Area
Loft space
Description
Notes
Data badge
ZENITH MECHANICAL SERVICES
Report Number | 22-19768
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-19768
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-19768
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-19768
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes