## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
7 Orchid Court
Blackhall
TS27 4JH
CARRIED OUT ON BEHALF OF
DAMHA
REPORT NUMBER: 22-19930
DATE OF REPORT: 18/06/2022
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 22-19930
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | DAMHA
Address | Durham Aged Mineworkers Homes
P.O. Box 31, The Grove
168 Front Street
Chester Le Street
DH3 3YH
Site Address | 7 Orchid Court
Blackhall
TS27 4JH
Carried Out On | 18/06/2022
Survey Completed By | Graeme Brown
SECTION 2: Introduction
No heating or water

## Report
ZENITH MECHANICAL SERVICES
Report Number | 22-19930
SECTION 3: Report
Fuse switch at distribution box been tripped. Turned back on and ran heating and hot water several times and boiler stayed on. Tenant has gas fire but no electric shower. Boiler is a alpha intec2 26CE

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 22-19930
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-19930
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-19930
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-19930
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-19930
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes