## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Percy Lodge
St Johns Terrace
Percy Main
NE29 6JT
CARRIED OUT ON BEHALF OF
S4NT
REPORT NUMBER: 22-19933
DATE OF REPORT: 06/10/2022
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 22-19933
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | S4NT
Address | Quadrant The Silverlink North
Colbalt Business Park
North Tyneside
NE27 0BY
Site Address | Percy Lodge
St Johns Terrace
Percy Main
NE29 6JT
Carried Out On | 20/06/2022
Survey Completed By | Stephen Green
SECTION 2: Introduction
6 Monthly PPM

## Report
ZENITH MECHANICAL SERVICES
Report Number | 22-19933
SECTION 3: Report
Carried out 6 monthly macanical checks Boilers - 3 Hamworthy Fleet f125v all satisfactory no error to report DHW - expansion vessels 2x Hamworthy reflix 60ltr 3.5 bar charged to pressure C/H - expansion vessels 1x Hamworthy refix 400 ltr 1.7bar charged to pressure Primary pumps twin head grundfos 2x magnate 40-180f250 .both operational pump 1- 0.7amps .pump 2 - 0.5 amps LTHW pumps twin head grundfos 2x magnate 40-180f250. Both operantional pump 1- 0.5amps. Pump 2 - 0.5amps Hamworthy Chesil pressurisation unit- no faults all satisfactory De stat pumps - 2x biral ag ch-3110 pump 1- operational 1amp. Pump 2 - 1.2 amps operantional 2x calorfiers 470ltr - satisfactory checks completed Laging- good Prv valves x3 all good Acuators x 2 schneider Gas interlock tested OK

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 22-19933
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-19933
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-19933
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-19933
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-19933
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes