## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
68 Village Heights
Windmill Hills
Gateshead
NE8 1PW
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 22-19965
DATE OF REPORT: 14/07/2022
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 22-19965
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 68 Village Heights
Windmill Hills
Gateshead
NE8 1PW
Carried Out On | 14/07/2022
Survey Completed By | Andrew Diffley
SECTION 2: Introduction
Planned install for boiler replacement.

## Report
ZENITH MECHANICAL SERVICES
Report Number | 22-19965
SECTION 3: Report
Boxing under boiler required Extractor hole bricked up and bonded out. Needs finish plaster External brickwork required. Approximately 6 bricks System may have existing leak, multiple stains on kitchen ceiling. Karbon have attended previously but couldn't find anything as the plumber needed a joiner to lift flooring

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 22-19965
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-19965
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-19965
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-19965
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-19965
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes