## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Preston Court
Roseberry Avenue
North Shields
NE29 9PG
CARRIED OUT ON BEHALF OF
S4NT
REPORT NUMBER: 22-20043
DATE OF REPORT: 06/10/2022
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 22-20043
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | S4NT
Address | Quadrant The Silverlink North
Colbalt Business Park
North Tyneside
NE27 0BY
Site Address | Preston Court
Roseberry Avenue
North Shields
NE29 9PG
Carried Out On | 22/06/2022
Survey Completed By | Stephen Green
SECTION 2: Introduction
Mechanical Check

## Report
ZENITH MECHANICAL SERVICES
Report Number | 22-20043
SECTION 3: Report
22/06/22 S GREEN Carried out 6 monthly macanical checks Boilers 3x Hamworthy Fleet 125v - no error messages on Boilers all running satisfactory Calorfiers 2x Hamworthy ps400 380lyr visual all satisfactory no leaks present DHW expansion vessels 2 x Hamworthy reflix de32- charged vessels to 3.5 bar both pressurised and at correct pressures Heating expansion vessel 1 x Hamworthy reflix de200 /200ltr- pressurerised to 1.7 bar all satisfactory no leaks present Presurisation unit 1x Hamworthy Chesil v2 reading 117.4 operating satisfactory DHWS pumps Grundfos twin head magnate 40 120 f 250 (x2) Pump 1 - 0.8amp Pump 2 - 0.7amp Both switch over VT heating pumps Grundfos twin head magnate 40 150 f 250 Pump 1 - 0.9amp Pump 2 - 0.9amp DHWS de stat pump 2x biral ag ch-3110 Pump 1 - 1.2amp Pump 2 - 1.1amp DHWS Secondary Pump 1x Grundfos magnate 40 120 f 250 Pump 1 - 0.9amp Gas solenoid checked satisfactory 3x schneider actuators checked all motoring over 2x prv valves visual check fig 500t 7bar (calorfiers) Cleaned ventilation grills as dirty

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 22-20043
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-20043
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-20043
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-20043
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-20043
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes