## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Eldon Court
Clavering Street
Willington Quay
NE28 6SW
CARRIED OUT ON BEHALF OF
S4NT
REPORT NUMBER: 22-20047
DATE OF REPORT: 05/07/2022
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 22-20047
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | S4NT
Address | Quadrant The Silverlink North
Colbalt Business Park
North Tyneside
NE27 0BY
Site Address | Eldon Court
Clavering Street
Willington Quay
NE28 6SW
Carried Out On | 04/07/2022
Survey Completed By | Graeme Brown
SECTION 2: Introduction
PPM - Mechanical Check

## Report
ZENITH MECHANICAL SERVICES
Report Number | 22-20047
SECTION 3: Report
3x Hamworthy fleet F50v-all operational on arrival 2x LOCHINVAR-SHW46-325 NG CE- All operational on arrival 1x ASHP- operational on arrival 1x CH expansion vessel = 1.5bar 1x ASHP expansion vessel = 1.5bar 2x wilo pressurization units = all ok Lagging = good Signs of old leaks on pipework 1x gas interlock = OK Main flu = good lOCHINVAR flu = good CH VT Pumps 1 and 2 - GRUDFOS - MAGNA3D 40-180 F 250x2 P1 = 0.2 AMPS P2 = 0.2 AMPS ASHP PRIMARY PUMP - GRUNDFOS - MGE908B 1-56C-1A x2 P1 = 0.3 AMPS P2 = 0.2 AMPS ASHP SECONDARY PUMP - GRUNDFOS - MAGNA3D 32-100F 220 x2 P1 = 0.2 AMPS P2 = 0.2 AMPS Secondary hot water pump - GRUNDFOS UPS BRONZE - 0.2 AMPS

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 22-20047
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-20047
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-20047
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-20047
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-20047
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes