## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Crossgates
Bellshill Close
Hadrian Park
NE28 9TY
CARRIED OUT ON BEHALF OF
S4NT
REPORT NUMBER: 22-20048
DATE OF REPORT: 06/10/2022
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 22-20048
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | S4NT
Address | Quadrant The Silverlink North
Colbalt Business Park
North Tyneside
NE27 0BY
Site Address | Crossgates
Bellshill Close
Hadrian Park
NE28 9TY
Carried Out On | 28/06/2022
Survey Completed By | Stephen Green
SECTION 2: Introduction
PPM - Mechanical Check

## Report
ZENITH MECHANICAL SERVICES
Report Number | 22-20048
SECTION 3: Report
Boilers 3x Hamworthy Fleet f85v. No error codes working satisfactory Calorfiers 2x lochinvar SHW61-325 NG CE gas fired water heaters .332ltr Pressurisation units 2x wilo comfort P235 PRESS UNIT Expansion vessel 1x zilmet 6 bar re pressurised and checked 3x zilmet 4 bar re pressurised and checked Pumps HTG Primary pumps- 2x twin head grundfos magna3d 40-100f220 1.5 amp HTG primary pumps 2x twin head grundfos mangna3d 40-100f220 1.5amp LTHW Pumps 2x twin head grundfos mge80a 1-56c1a 2amp - found sensor faulty on pump 2 LTHW pumps 2x twin head grundfos mge90scsc2-ff165-1a 2amp - found pump 2 to have faulty sensor DHW Secondary Pump Grundfos ups 15-50 1amp Gauges - OK Laging- OK Gas solenoid- OK Flue- OK 2x schneider acuators- 0k Butterfly valves - OK checked Pressure switches - OK checked

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 22-20048
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-20048
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-20048
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-20048
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-20048
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes